## Slide 1: Weather sensor fault detection in meteorological mast
Franco Piergallini Guida, Universidad de Palermo

## Slide 2
Agenda
Meteorological masts
Failures in the sensor components
Fault detection
Conclusion & Future works

## Slide 3: Meteorological mast

## Slide 4
Meteorological mast
Meteorological masta
Standard configuration
6 anemometers (placed at three heights)
2 vanes (both at the same heights)
1 data logger (SCADA)
Notes: Un gran problema en los sistemas de energía eólica y torres meteorológicas es el costo alto de operación y mantenimiento, debido a su difícil acceso, a menudo en áreas remotas
Es por eso que el monitoreo contínuo del estado de sus sensores mediante algoritmos de detección de fallas automáticas puede mejorar la confiabilidad y reducir costos de mantenimiento al detectar fallas antes de que lleguen a una etapa catastrófica y al eliminar mantenimiento programado innecesario

## Slide 5: Failures in the sensor components

## Slide 6
Failure in the sensor components
Mechanical faults
Connection faults
Calibration faults
Failure in weather sensors
Notes: Agregar las medidas!!

## Slide 7
Wind vertical profile
Failure in weather sensors
are the wind speed at different heights
are the the heights
is the wind profile parameter
Notes: La velocidad del viento varía con la altura y depende fundamentalmente de la naturaleza del terreno sobre el cual se desplazan las masas de aire.
Donde V1 < V2 representan las velocidades del viento a las alturas h1 < h2, respectivamente. El exponente 𝛼 caracteriza al terreno, pudiendo variar entre 0.08 (superficies lisas como hielos, lagunas, etcétera) y 0.40 (sobre terrenos muy accidentados).

## Slide 8
Time series
Timestamp | Ch1 (m/s) | Ch2 (m/s)
2016-12-21 23:00 | 4.3 | 4.3
2016-12-21 23:10 | 5.1 | 5.1
2016-12-21 23:20 | 5.2 | 5.2
2016-12-21 23:30 | 5.0 | 5.0
Failure in weather sensors
Notes: Agregar la unidad de medida!!!

## Slide 9: Fault detection

## Slide 10
Wind speed ratio: mtj ∣ mti
Wind speed Pearson correlation: Ct,wi,j = ρ( mt,wi ∣ mt,wj )
Wind direction Differences : mtj - mti
Time serie comparison
Fault detection
is the measurment of the sensor j at the time t
is the measurment vector defined as

## Slide 11
Flagging - parameter tuning
Fault detection
Notes: Se definió un conjunto de thresholds en base a variables computadas sobre los datos para identificar anomalías en cada sensor, agrupándolos por el tipo. Si la variable computada para una medida en un tiempo determinado t sobrepasa el threshold definido para esta, se etiqueta con un flag como una posible anomalía.
Estos thresholds se definieron en el proceso de optimización de parámetros, con el objetivo de minimizar los falsos positivos, comportamientos identificados como anómalos cuando en realidad no lo son, y maximizar las detecciones de anomalías reales en los datos de los sensores.

## Slide 12
Fault detection logic
Timestamp | Ch1 | Ch2 | Correlation | Correlation Flag | Ratio | Ratio Flag | Flag
2018-01-15 07:10:00 | 7.7 | 7.6 | 0.99 | 0 | 1.00 | 0 | 0
2018-01-15 07:20:00 | 8.0 | 8.0 | 0.99 | 0 | 0.99 | 0 | 0
2018-01-15 07:30:00 | 3.4 | 8.3 | -0.73 | 1 | 0.41 | 0 | 0
2018-01-15 07:40:00 | 0.6 | 7.8 | -0.23 | 1 | 0.07 | 1 | 1
2018-01-15 07:50:00 | 0.6 | 7.7 | 0.44 | 1 | 0.07 | 1 | 1
Fault detection

## Slide 13: Conclusion and future works

## Slide 14
Conclusion
Conclusion and future works
This work bring an initial research advancement for similarly sensor analysis applied to wind turbines. Despite the fact this algorithm is still in a validation stage, once its reliability is confirmed, it can be applied to other sensor systems.
Notes: Hacer un listado, no un parrafo.

## Slide 15
Future works
Our algorithm still need to be tested in a real world dataset in which the fault types and their locations are known
it is worth consider the prediction of the fault in sensors before they becomes blockers.
Conclusion and future works
Notes: Hacer un listado, no un parrafo.